|  | INSTITUTE FOR ACCREDITATION OF THE REPUBLIC OF NORTH MACEDONIA |
| --- | --- |
|  | Field and Scope of Accreditation of Conformity Assessment Bodies |
|  | PR 05-14 |

## Contents

## 1. purpose (SUBJECT AND SCOPE OF APPLICATION)

## 2. REFERENCE DOCUMENTS

## 3. GUIDELINES FOR TESTING LABORATORIES

## 4. GUIDELINES FOR MEDICAL LABORATORIES

## 5. GUIDELINES FOR CALIBRATION LABORATORIES

## 6. GUIDELINES FOR CERTIFICATION BODIES FOR PRODUCTS, PROCESSES AND SERVICES

7. GUIDELINES FOR CERTIFICATION BODIES FOR MANAGEMENT SYSTEMS

## 8. GUIDELINES FOR INSPECTION BODIES

- PURPOSE

The purpose of this procedure, issued by the Director of the Institute for Accreditation of the Republic of Macedonia (hereinafter: IARM), is to unify the manner of displaying the scope of accreditation in the annexes to the certificates of the conformity assessment bodies.

- rEFERENCE DOCUMENTS

ISO/IEC 17000: Conformity assessment. Vocabulary and general principles.

ISO/IEC 17011: Conformity assessment. Requirements for accreditation bodies accrediting conformity assessment bodies

Standards of ISO 80000 series - from part 1 to part 14: Quantities and Units.

ILAC-P14: ILAC Policy for Uncertainty in Calibration

ILAC-G18: Guidelines for the formulation of Scopes of accreditation for Laboratories.

EA-2/15 M: EA Requirements for the Accreditation of Flexible Scopes

EA-4/02 M: Evaluation of the Uncertainty of Measurement in Calibration.

EA-4/17 M: EA Position Paper on the description of scopes of accreditation of medical laboratories

EA 1/22 A: EA Procedure and Criteria for the Evaluation of Conformity Assessment Schemes by EA Accreditation Body Members

МКС EN ISO/IEC 17025:2018

JCGM 100:2008, GUM 1995, Evaluation of measurement data – Guide to the expression of uncertainty in measurement.

МКС EN ISO/IEC 17065:2012 Conformity assessment — Requirements for bodies certifying products, processes and services

МКС EN ISO/IEC 17067:2013 Conformity assessment — Fundamentals of product certification and guidelines for product certification scheme

- GUIDELINES FOR TESTING LABORATORIES

The scope of activities of the testing laboratories that require accreditation is stated in the Application for Testing Laboratory Accreditation OB05-22-1. By filling in the relevant tables, the applicant shall indicate the scope for which they are seeking accreditation and which will be, after granting the accreditation, re-accreditation, extension of accreditation or after the changes made, specified in the Annex to the accreditation certificate OB05-25.

Sample table showing the scope of accreditation of a testing laboratory:

| Подрачје на тестирање (класификација според ИАРМ Правилникот Р 15): Field of testing (classification according to IARM Regulation R15): |
| --- |
| ( фиксен опсег (fixed scope) | ( флексибилен опсег (flexible scope) | ( фиксен / флексибилен опсег (fixed/flexible scope) |
| Напомена: Со „*“ се обележува флексибилниот опсег | Степен на флексибилност (според процедурата ПР 05-09): Degree of flexibility (according Procedure PR 05-09): |
|  | ( нови ажурирани верзии на стандарди/ документи new up-date versions of the standards/ documents | ( нови материјали/производи/предмети и/или карактеристика/својство/аналит кој се мери и/или проширување на мерниот опсег new materials/ products/ items and/or measured characteristic/ property/ analyte, and/or extension of measuring scope | ( нови стандарди/документи, прилагодени на барањата на клиентот new standards/ documents, upon a request by the client |
| Бр. No. | Ознака на метод/техника Reference to method/technique | Наслов на метод/техника/параметар Title of method/ technique /parameter | Подрачје (r) на мерење, тестирање и/или Неодреденост (u) на резултатите од мерењето Scope (r) of measurement, testing and/or Uncertainty (u) of result of testing | Материјали односно производи Materials /Products | ч е с т о т а f r e q u e n c y |

Instructions for filling in the table:

The gray part of the table clearly and unambiguously defines each field of testing (according to the IARM Rulebook, R 15) with numbers and letters. If the laboratory applies for accreditation in a field that is not specified in the IARM Rulebook, R 15, then that field is defined under the item "other", where it is clearly and unambiguously described. Also in the gray part of the table the type of accreditation scope is stated, fixed, flexible or if the scope is a combination of fixed and flexible methods, fixed/flexible scope is stated in the type of scope. The degree of flexibility according to the IARM procedure, PR 05-09 must also be stated. The flexible scope is clearly marked with the symbol "*" in the first column next to the ordinal number of the test method.

Column 1:

The ordinal numbers of the test methods are entered in the first column of the table. The numbers are placed sequentially throughout the scope, with each method being uniformly denoted (do not start every table with the number 1 from the beginning). In this column the "*" indicates the flexible scope next to the ordinal number of the test method.

Column 2:

The second column lists the reference of the standard method, non-standard method, laboratory method, method specified by the equipment manufacturer, method published by a reputable technical institution, or method published in relevant scientific journals / testing technique reference. In case of standard method and fixed scope, in addition to the standard method reference, the year of the edition must be stated whereby the laboratory must use the latest edition.

Column 3:

The third column lists the original title of the standard method, non-standard method, method developed in the laboratory, method specified by the equipment manufacturer, method published by a reputable technical institution or the method published in relevant scientific journals / the title of the testing technique / the title of the parameter tested.

Column 4:

The fourth column for each method / technique / parameter lists the scope of ​​measurement, testing and/or measurement uncertainty of the results if possible and important from the point of view of informing the clients or in order to clearly limit the field of accreditation.

The manner in which the measuring field (measuring scope) is written is as follows:

1. The lower limit of the scope is written with a number that contains the SI - unit of measurement, then it is separated by the sign "÷" or with "-", and then the upper limit of the scope is written with a number that is accompanied by the SI unit of measurement, or the upper and lower limit separated by parentheses and accompanied by the unit of measurement.

Example: 0,010 mg/L ÷ 0,500 mg/L, or (0 - 100) g/100g.

2. The following rule must be observed: Value - space - symbol of the unit of measurement

• This rule also applies to the percentage sign (%)

• There is an exception for the symbols for plane angle, minutes and seconds (°, ′ and ″), when there is no space, ie: value - symbol for unit of measurement.

3. Decimal numbers are written with a comma ",".

4. All units of measurement should be expressed in SI units, and if they are not, they should be converted and expressed in SI units if possible. In cases where this is not possible, the justification for such an expression should be supported by reference documents where units other than the SI system are given.

5. The symbols of the units of measurement are written in Latin or Greek alphabet (Ω and μ), roman letters - italic letters are used for sizes (eg m for mass).

6. The symbols of the units of measurement are written in lower case ("m", "s", "mol"), except when they are derived from the name of a person (eg unit of pressure named after the scientist Blaise Pascal - "Pa") .

- Exception is the "liter" sign - it is recommended to use a capital "L".

7. Symbols of derived units formed by division are displayed with a sign (/), or as a negative degree. Example: g/L or g • L-1.

8. In the expression of the measuring units it is necessary to use the SI-prefixes in accordance with the Rulebook on definitions, names and symbols, field and manner of application, obligation for use and manner of writing legal measuring units ("Official Gazette of the Republic of Macedonia", No. 104/2007). This means that measuring scopes are not expressed in numbers with more than three digits. Example: 20 mg ÷ 100 kg, and not 20 mg ÷ 100 000 mg.

Rules for writing measurement uncertainty:

1. Uncertainty is given in absolute value for the measuring point and it is rounded to two significant digits. Column 4 indicates only the value and the SI unit of measure without indicating "±". Measurement uncertainty can also be expressed as a relative value in percentage.

Column 5:

The fifth column lists the materials or products to be tested.

Column 6:

The sixth column lists the "frequency" (F) with which the tests are performed: (D) daily; (WEEK) once or several times a week; (M) per month; (P) periodically or several times a year.

Practical examples:

| Подрачје на тестирање (класификација според ИАРМ Правилникот Р 15)/ Field of testing (classification according to IARM Regulation R15): 3. Хемија/ Chemistry 8. Микробиологија/ Microbiology Класификација по тип на производи/материјали за тестирање/ Classification according to types of poducts/materials for testing 6.1 Вода/ Water 7.8 Вода /Waters 7. Храна/ Foodstuffs 18.1 Добиточна храна/ Feed 17.1 Фармацевтски препарати/ Pharmaceuticals 20. Друго/ Others (брисеви од работни површини и трупови на заклани животни/ swabs from working surfaces and surfaces from carcasses) |
| --- |
| ( фиксен опсег (fixed scope) | ( флексибилен опсег (flexible scope) | √( фиксен / флексибилен опсег (fixed/flexible scope) |
| Напомена: Со „*“ се обележува флексибилниот опсег | Степен на флексибилност (според процедурата ПР 05-09): Degree of flexibility (according Procedure PR 05-09): |
|  | √( нови ажурирани верзии на стандарди/ документи new up-date versions of the standards/ documents | √( нови материјали/производи/предмети и/или карактеристика/својство/аналит кој се мери и/или проширување на мерниот опсег new materials/ products/ items and/or measured characteristic/ property/ analyte, and/or extension of measuring scope | √( нови стандарди/документи, прилагодени на барањата на клиентот new standards/ documents, upon a request by the client |
| Бр. No. | Ознака на метод/техника Reference to method/technique | Наслов на метод/техника/параметар Title of method/ technique /parameter | Подрачје (r) на мерење, тестирање и/или Неодреденост (u) на резултатите од мерењето Scope (r) of measurement, testing and/or Uncertainty (u) of result of testing | Материјали односно производи Materials /Products | ч е с т о т а f r e q u e n c y |
| 1. | MKC EN ISO 16266:2006 | Детекција и броење на Pseudomonas aeruginosa - Метод со мембранска филтрација Detection and enumeration of Pseudomonas aeruginosa - Method by membrane filtration |  | вода water | Д D |
| 2. | MKC EN ISO 6461-2:1986 | Детекција и броење на спори од сулфиторедуктивни бактерии (клостридии), Дел 2: Мембранска филтрација Water Quality-Detection and enumeration of the spores of sulphite reducing anaerobes (clostridia), Part 2: Membrane filtration |  | вода water | Д D |
| 3. | MKC EN ISO 21528-2:2004 | Хоризонтални методи за детекција и броење на Enterobacteriaceae Дел 2: Метод на броење на колонии Horizontal methods for the detection and enumeration of Enterobacteriaceae Part 2: Colony-count method |  | храна и храна за животни, брисеви од работни површини и трупови на заклани животни food and animal feed, swabs from working surfaces and surfaces from carcasses | Д D |
| 4. | MKC EN ISO 937:1978 | Месо и производи од месо – определување на содржина на азот (Kjeldahl метод) Meat and meat products- Determination of nitrogen content (Kjeldahl method) | Опсег/Scope: (0 ÷ 10) g/100 g | месо и производи од месо meat and meat product | НЕД W |
| 5.* | МКS EN 15662:2011 AOAC 2007.01:2007 LC-MS-MS детекција LC-MS-MS detection | Остатоци на пестициди во храна со екстракција/ партиционирање со ацетонитрил и матрикс дисперзивна SPE (LC-MS-MS детекција) Pesticide residues in foods by acetonitrile extraction/ partitioning and matrix dispersive SPE (LC-MS-MS detection) | Опсег/Scope: 0,010 mg/L ÷ 0,500 mg/L Carbofuran Carbaryl Fenvalerate Diazinon Malathion Dichloros Parathion Amitraz Coumaphos Bromopropylate Bifenthrin Cypermethrin Permethrin Deltamethrin | -храна со висока содржина на масти -храна со ниска содржина на масти -food with high fat content -food with low fat content | НЕД W |
| 6.* | Ph. Eur. Валидирани аналитички методи од производителот | Монографии и методи пропишани во Европска фармакопеја Спецификации и валидирани аналитички методи од документација на производителот за фармацевтските препарати. Со примена на следниве техники: - рН – метрија - јонометрија - гравиметрија - титриметрија - тест на растворливост (апарат за растворливост) - тест за распадливост (апарат за распадливост) - UV/VIS спектрофотометрија - хроматографија на тенок слој (TLC) - гасна хроматографија (GC/FID/ECD) и Headspace техника - високо ефикасна течна хроматографија (HPLC/ DAD/FLD/RID/MS-MS) кондуктометрија рефрактометрија полариметрија Aтомска апсорпциона спектрометрија (AAЅ) Физички и хемиски испитувања (соодветно за препаратот) изглед бистрина на раствор боја на раствор рН концентрација на јони во раствор губиток со сушење содржина на вода остаток по испарување сулфатен пепел вкупен пепел големина на честици индекс на рефракција специфична оптичка ротација идентификација определување на содржина воедначеност на дозирани единици растворливост на активна компонента рападливост на цврсти дозирни форми киселински број естерски број пероксиден број хидроксилен број јоден број сапунификационен број несапунливи материи спроводливост на вода одредување на елементи |  | Фармацевтски препарати: суровини фармацевтски дозирани форми, пропишани во Ph.Eur. |  |
|  | Ph. Eur. Validated analytical methods from the manufacturer | Monographs and methods described in European Pharmacopoeia (Ph.Eur.). Specifications and validated analytical methods from the manufacturer’s documentation of the pharmaceuticals. Using the following techniques: - potentiometric determination of pH - gravimetric techniques - titrimetric techniques - dissolution test (dissolution apparatus) - disintegration test (disintegration apparatus) - UV/VIS spectrophotometry thin layer chromatography (TLC) gas chromatography (GC/FID/ECD) & Headspace high performance liquid chromatography (HPLC/ DAD/FLD/RID/MS-MS) conductometry refractometry polarimetry AAS spectrometry Physical and Chemical tests (as appropriate to product) appearance clarity of liquids colour of liquids solubility pH ion concentration loss on drying content of water residue on evaporation sulphate ash total ash particle size refractive index specific optical rotation identification assay uniformity of dosage units dissolution of active ingredient disintegration of solid dosage forms acid value ester value peroxide value hydroxyl value iodine value saponification value unsaponifiable matter conductivity of water determination of elements |  | Pharmaceuticals: raw materials pharmaceutical dosage forms, as described in Ph.Eur. |  |
| 7. | МКС EN 1015-11: 2009 | Методи за испитување на малтер за ѕидање -Дел 11: Одредување на јакост на свиткување и јакост на притисок на стврднат малтер Methods of test for mortar for masonry – Part 11: Determination of flexural and compressive strength of hardened mortar | U= 0,05 N/mm2 | Малтери Mortars | П P |

- GUIDELINES FOR MEDICAL LABORATORIES

The scope of activities of medical laboratories that require accreditation is stated in the Medical Laboratory Accreditation Application ОB05-22-2-1. By filling in the relevant tables, the applicant shall indicate the scope for which they are seeking accreditation and which will be, after granting accreditation, re-accreditation, extension of accreditation or after the changes made, specified in the Annex to the accreditation certificate OB05-25-1.

Sample table showing the scope of accreditation of a medical laboratory:

| Подрачје на тестирање (класификација според ИАРМ Правилникот Р 15): Field of testing (classification according to IARM Regulation R 15): ( фиксен опсег (fix scope) ( флексибилен опсег (flexible scope) ( фиксен / флексибилен опсег (fix/flexible scope) Напомена: Со „*“ се обел жува флексибилниот опсег Степен на флексибилност (според процедурата ПР 05-09): Degree of flexibility (according Procedure PR 05-09): ( нови ажурирани верзии на стандарди/ документи new up-date versions of the standards/ documents ( нови материјали/производи/предмети и/или карактеристика/својство/аналит кој се мери и/или проширување на мерниот опсег new materials/ products/ items and/or measured characteristic/ property/ analyte, and/or extension of measuring scope ( нови стандарди/документи, прилагодени на барањата на клиентот new standards/ documents, upon a request by the client |
| --- |
| Бр. No. | Ознака на метод Reference to method | Наслов на метод Title of method | Подрачје (r) на мерење, испитување Scope (r) of measurement, examination | Биолошки материјал Biological material | ч f |

Instructions for filling in the table:

The gray part of the table clearly and unambiguously defines each scope of measurement (according to the IARM Rulebook, R 15) with numbers and letters. If the laboratory applies for accreditation in a field that is not specified in the IARM Rulebook, R 15, then that field is defined under the item "other", where it is clearly and unambiguously described. Also in the gray part of the table the type of the accreditation scope is stated, fixed, flexible or if the scope is a combination of fixed and flexible methods, fixed/flexible scope is stated in the type of scope. The degree of flexibility according to the IARM procedure, PR 05-09 must also be stated. The flexible scope is clearly marked with the symbol "*" in the first column next to the ordinal number of the test method.

Column 1:

The ordinal numbers of the test methods are in the first column of the table. The numbers are placed sequentially throughout the scope, with each method being uniformly referenced (do not start every table with the number 1 from the beginning). In this column the "*" indicates the flexible scope next to the ordinal number of the test method.

Column 2:

The second column indicates the reference of the standard method, non-standard method, method developed in the laboratory, method specified by the equipment manufacturer, method published by a reputable technical institution or the method published in relevant scientific journals, describing the testing method. This column also states the type or principle of the test method used. When the method is specified by the equipment manufacturer, the name/type of equipment, reference to the appropriate laboratory instruction describing the testing procedure and revision status (if necessary) is stated.

Column 3:

The third column lists the original title of the standard method, non-standard method, method developed in the laboratory, method specified by the equipment manufacturer, method published by a reputable technical institution or the method published in relevant scientific journals. This column also lists the analyzed indicator / analytе / parameter.

Column 4:

The fourth column for each method states the scope of ​​measurement, testing. For tests for which a qualitative result is issued, the scope of ​​measurement and testing is not specified.

The manner in which the field of measurement (scope of measurement) is written is as follows:

1. The lower limit of the scope is written with a number that contains the SI - unit of measurement, then it is separated by the sign "÷" or with "-", and then the upper limit of the scope is written with a number that is accompanied by the SI unit of measurement, or the upper and lower limit separated by parentheses and accompanied by the unit of measurement.

Example: 0,12 µmol/L÷179 µmol/L, (0,12 – 179) µmol/L.

2. The following rule must be observed: Value - space - symbol of the unit of measurement

• This rule also applies to the percentage sign (%)

• There is an exception for the symbols for plane angle, minutes and seconds (°, ′ and ″), when there is no space, ie: value - symbol for unit of measurement.

3. Decimal numbers are written with a comma ",".

4. All units of measurement should be expressed in SI units, and if they are not, they should be converted and expressed in SI units if possible. In cases where this is not possible, the justification for such an expression should be supported by reference documents where units other than the SI system are given.

5. The symbols of the units of measurement are written in Latin or Greek letters (Ω and μ), roman letters - italic letters are used for sizes (eg m for mass).

6. The symbols of the units of measurement are written in lower case ("m", "s", "mol"), except when they are derived from the name of a person (eg. unit of pressure named after the scientist Blaise Pascal - "Pa")

- Exception is the "liter" sign - it is recommended to use a capital "L".

7. Symbols of derived units formed by division are written with a sign (/), or as a negative degree. Example: g/L or g • L-1.

8. In the expression of the measuring units it is necessary to use the SI-prefixes in accordance with the Rulebook on definitions, names and symbols, field and manner of application, obligation for use and manner of writing legal measuring units ("Official Gazette of the Republic of Macedonia", No. 104/2007). This means that measuring scopes are not expressed in numbers with more than three digits. Example: 20 mg ÷ 100 kg, and not 20 mg ÷ 100 000 mg.

Column 5:

The fifth column lists the biological material being tested.

Column 6:

The sixth column lists the "frequency" (F) with which the tests are performed: (D) daily; (WEEK) once or several times a week; (M) per month; (P) periodically or several times a year.

Practical examples:

| Подрачје на тестирање (класификација според ИАРМ Правилникот Р 15): 2. Биологија, Биохемија/ 2.4 Ензимски тестови; 2.5 Имунолошки тестови 7. Механичко тестирање/ 7.3 Микроскопско тестирање Класификација по тип на производи/материјали за тестирање 1. Биолошки примероци / 1.1 Клинички и патолошки примероци Field of testing (classification according to IARM Regulation R15): 2. Biology, biochemistry / 2.4 Enzyme tests; 2.5 Immunological tests 7. Mechanical testing/ 7.3 Microscopic testing Classification according to types of products/materials for testing 1.Biological samples / 1.1Clinical and pathological samples |
| --- |
| √ ( фиксен опсег (fixed scope) | ( флексибилен опсег (flexible scope) | ( фиксен / флексибилен опсег (fixed/flexible scope) |
| Напомена: Со „*“ се обележува флексибилниот опсег | Степен на флексибилност (според процедурата ПР 05-09): Degree of flexibility (according Procedure PR 05-09): |
|  | ( нови ажурирани верзии на стандарди/ документи new up-date versions of the standards/ documents | ( нови материјали/производи/предмети и/или карактеристика/својство/аналит кој се мери и/или проширување на мерниот опсег new materials/ products/ items and/or measured characteristic/ property/ analyte, and/or extension of measuring scope | ( нови стандарди/документи, прилагодени на барањата на клиентот new standards/ documents, upon a request by the client |
| Бр. No. | Ознака на метод Reference to method | Наслов на метод Title of method | Подрачје (r) на мерење, испитување Scope (r) of measurement, examination | Биолошки материјал Biological material | ч f |
| 1. | SYSMEX XP-300 - Автоматизиран крвен бројач/ SYSMEX XP-300 Automated cell counting (ACC) | Одредување на : |  | Полна крв / Whole Blood | Д |
|  | ACC | Еритроцити RBC (Red blood cells) | (0,3 -14,9) x 1012/L |  |  |
|  | ACC | Хемоглобин Hemoglobin | 0,1 g/dL - 25,0 g/dL |  |  |
|  | ACC | Хематокрит Hematocrit | (0-99,9) % |  |  |
|  | ACC | MCV Mean cell volume | (0-200) fL |  |  |
|  | ACC | MCH Mean cell hemoglobin | 10 pg - 50 pg |  |  |
|  | ACC | MCHC Mean cell hemoglobin concentration | 10 g/dL - 50 g/dL |  |  |
|  | ACC | Тромбоцити Platelets | (0-99,9) x 109/L |  |  |
| 2. | MINDRAY BS-120 - Автоматски биохемиски анализатор/ MINDRAY BS-120 – Auotomated Biochemistry Analyzer | Одредување на: |  |  | НЕД |
|  | PHO | Серумско Fe Fe in serum | (1,1-179) µmol/L | серум / serum |  |
|  | PHO | TIBC Вкупен капацитет за врзување на железо Total Iron Binding Capacity | (0,12-179) µmol/L | серум / serum |  |
|  | TURB | Феритин Ferritin | 4 µg/L - 500 µg/L | серум / serum |  |
|  | PHO | HDL | (0,01-5,18) mmol/L | серум / serum |  |
|  | CALC | LDL | (0,07-25,6) mmol/L | серум / serum |  |
|  | PHO | Уреа Urea | (0,42-50) mmol/L | серум / serum |  |
|  | TURB | IgM (имуноглобулин М) Immunoglobulin M | (0,02-3) g/L | серум / serum |  |
|  | TURB | C3 комплемента на компонент - 3 / complement component -3 | (0,9-1,8) g/L | серум / serum |  |
|  | M-SKOP | Хемиски и микроскопски преглед Chemical and microscopic examination | / | урина / urine |  |
|  | PHO | Микроалбуминурија Microalbuminuria | / | урина / urine |  |
|  | GRAV | Седиментација на еритроцити Erythrocyte sedimentation rate | / | серум / serum |  |
| 3. | LIAISON - Хемилуминисцентен анализатор/ LIAISON chemiluminescence analyzer (CLIA) | Одредување на: |  |  | НЕД |
|  | CLIA | FSH Фоликуло стимулирачки хормон Follicle stimulating hormone | (0,25-400) mIU/mL | серум / serum |  |
|  | CLIA | Естрадиол (Е2) Estradiol (E2) | (12-1100) pg/mL | серум / serum |  |
|  | CLIA | Прогестерон Progesterone | (0,4-40) ng/mL | серум / serum |  |
|  | CLIA | Helicobacter pylori SA (Хеликобактер пилори антиген во столица / Helicobacter pylori Stool Antigen) | (0-78) index | фецес / feces |  |
| 4. | LT-4000 Microplate Reader ELISA | Одредување на: |  |  | НЕД |
|  | ELISA | Anti-TPO – (тироидеа) Aнти-тироидеа пероксидаза Anti-Thyroid Peroxidase | (0,1-1500) U/Ml | серум / serum |  |

If abbreviations are used, they are listed in the List of Abbreviations:

Example of a List of Abbreviations:

| ACC | Automated Cell Counting | Автоматска определување на диференцијална крвна слика |
| --- | --- | --- |
| CALC | Calculation | Пресметка |
| CLIA | ChemiluminiscenceImmunoassaywith paramagnetic microparticle | Хемилуминисцентно имуно определување со парамагнетни микрочестички |
| ELISA | Enzyme-linked Immunosorbent Assay | Имуно определување со ензимска реакција |
| GRAV | Gravimetry | Гравиметрија |
| HWS | Haemostasis Work Station | Работна станица за определување на хемостаза |
| M-SKOP | Microscopy | Микроскопија |
| PHO | Spectrophotometry | Спектрофотометрија |
| TURB | Turbidimetry | Турбидиметрија |
| ELISA-SMC® | Enzyme-linked Immunosorbent Assay – Sensotronic Memorized Calibration | Имуно определување со ензимска реакција – сензотронска меморизирана калибрирација (патентирана од производителот) |

- GUIDELINES FOR CALIBRATION LABORATORIES

The scope of activities of the calibration laboratories that require accreditation is stated in the Application for Calibration Laboratory Accreditation OB05-02. By filling in the relevant tables, the applicant shall indicate the scope for which they are seeking accreditation and which will be, after granting accreditation, re-accreditation, extension of accreditation or after the changes made, specified in the Annex to the accreditation certificate of the calibration laboratory OB05-32 .

* The scope of accreditation should be in accordance with ILAC-P14: 09/2020, item 4.

| Подрачје (од ИАРМ документот Р 15) / Field (from the IARM document R 15): |
| --- |
| Локација каде се изведува калибрацијата: |
| Реден број No. | Предмет на калибрација Subject of calibration | Мерен опсег Measuring range | Калибрациска мерна можност Calibration measurement capability (cmc)* | Метода на калибрација Method of calibration | Забелешка Remark |
| 1 | 2 | 3 | 4 | 5 | 6 |

Before filling in the columns in the header, list the field and the corresponding sub-field in accordance with P 15 "Rulebook for determining the fields for calibration, testing, inspection and certification areas", without the ordinal number of the field / sub-field.

In the field "Location where the calibration is performed" the following is stated: "in the laboratory", "on site", etc.

Column 1 "Ordinal number": In this column, the ordinal numbers for each measuring range are filled in sequentially.

Example 1:

| Димензионални големини / Должина Dimensional quantities / Length |
| --- |
| Локација каде се изведува калибрацијата: |
| Реден број No. | Предмет на калибрација Subject of calibration | Мерен опсег Measuring range | Калибрациска мерна можност Calibration measurement capability (cmc)* | Метода на калибрација Method of calibration | Забелешка Remark |
|  | Линеали / Rulers |  |  |  |  |
| 1 |  | 0 mm ÷ 200 mm |  |  |  |
| 2 |  | 200 mm ÷ 500 mm |  |  |  |
| 3 |  | 500 mm ÷ 2000 mm |  |  |  |

Column 2 "Subject of calibration (meters to be calibrated)": This column lists the types of measuring instruments that have common characteristics in terms of measurement size. To define the attachment more precisely, the types of measuring instruments should be described and named in sufficient detail to give a clear meaning for which measuring instruments the laboratory has the capacity to calibrate. The name in Macedonian is written in roman letters while the English translation is written in italics.

Example 2:

| Димензионални големини / Должина Dimensional quantities / Length |
| --- |
| Локација каде се изведува калибрацијата: |
| Реден број No. | Предмет на калибрација Subject of calibration | Мерен опсег Measuring range | Калибрациска мерна можност Calibration measurement capability (cmc)* | Метода на калибрација Method of calibration | Забелешка Remark |
|  | Линеали / Rulers |  |  |  |  |
| 1 |  | 0 mm ÷ 200 mm | 0,6 µm+4,5x10-6 L |  | L – измерената должина (во мерна единица како во мерниот опсег) L – measured length (in measurement unit as in the measuring range) |
| 2 |  | 200 mm ÷ 500 mm | 2,5 µm+4,5x10-6 L |  |  |
| 3 |  | 500 mm ÷ 2000 mm | 3,1 µm+4,5x10-6 L |  |  |
|  | Мерни ленти / Tape measures |  |  |  |  |
| 4 |  | 0 mm ÷ 5 m | 3,1 µm+4,5x10-6 L |  | L – измерената должина (во мерна единица како во мерниот опсег) L – measured length (in measurement unit as in the measuring range) |
| 5 |  | 5 m ÷ 30 m | 21 µm |  |  |

Column 3 "Measuring range": This column lists the measuring range of the measuring instruments for which the laboratory has the capacity to perform the calibration. In case the measuring instruments have several ranges, or it is a set of measuring instruments with different ranges, it is necessary to specify the lower limit of the lowest range and the upper limit of the highest range. Analogously, for a set of unit values ​​(resistors, weights, etc.) the measuring range is expressed by stating the lowest nominal value and then the highest nominal value. Measuring ranges are written as follows:

1. The lower limit of the range is written with a number that contains SI - unit of measurement, then it is separated by the sign "÷", and then the upper limit of the range is written with a number that is accompanied by the SI unit of measurement.

Example 3:20 mg ÷ 100 mg.

2. In the expression of the measuring units it is necessary to use the SI-prefixes in accordance with the Rulebook on definitions, names and symbols, field and manner of application, obligation for use and manner of writing legal measuring units ("Official Gazette of the Republic of Macedonia", No. 104/2007). This means that measuring ranges are not expressed in numbers with more than three digits.

Example 4: 20 mg ÷ 100 kg, and not 20 mg ÷ 100 000 mg.

3. If the measuring range consists of two ranges that refer to two different sizes that characterize the measuring signal, first the range for which the data given in column 4 refers to is written and then in parentheses the range of the second size is written. Such are the ranges of alternating voltage, alternating current, power, etc.

Example 5:

| Електрични големини / Еднонасочен нискофреквентен напон Electricity / DC/LF Voltage |
| --- |
| Локација каде се изведува калибрацијата: |
| Реден број No. | Предмет на калибрација Subject of calibration | Мерен опсег Measuring range | Калибрациска мерна можност Calibration measurement capability (cmc)* | Метода на калибрација Method of calibration | Забелешка Remark |
| 1 | Дигитални мултиметри, волтметри и мерила на наизменичен напон кои не се наменети за оваа величина како дел од некоја друга и се со фреквенција помала од 1 MHz Digital multimeters, voltmeters and measuring instruments of AC Voltage which are not primary untended for measuring quantities of a different type and with frequency lower than 1 MHz | 100 mV÷1 V (40 Hz ÷100 kHz) | 0,5 mV/V | EURAMET/cg.15/V.2 “Guidelines on the Calibration of Digital Multimeters” | Дирекна метода на калибрација со калибратор WAVETEK 4808 Спредбена метода на калибрација со мултиметар AGILENT 3458A |
| 2 |  | 1 V ÷ 10 V (40 Hz ÷100 kHz) | 2 mV/V |  |  |
| 3 |  | 1 V ÷ 10 V (100 kHz ÷1 MHz) | 12 mV/V |  |  |
| 4 |  | 10 V ÷ 100 V (40 Hz ÷100 kHz) | 3 mV/V |  |  |
| 5 |  | 100 V ÷ 1000 V (40 Hz ÷20 kHz) | 1,4 mV/V |  |  |

4. Decimal numbers are written with a comma ",".

5. All measurement units should be expressed in SI units, and if they are not, they should be converted and expressed in SI units if possible. In cases where this is not possible, the justification for such expression should be supported by reference documents where units of non-SI system are given.

Column 4 "Calibration measurement capability": This column lists the extended measurement uncertainty with a coverage factor k (in the case of a normal Gaussian distribution, k is a value of 2), which refers to:

1. Calibration of measuring instruments, given in column 2 of the table with the measuring range given in column 3;

2. Method of calibration, in accordance with the reference documents listed in column 5 and with the equipment specified in the controlled laboratory documentation or in column 6;

3. The working environment in which the calibration is performed, and is specified in the controlled laboratory documentation;

4. Execution of activities (preparation, overall measurement process, evaluation, etc.) by the selected technical staff in accordance with the conditions prescribed in the calibration methods or other regulations.

If there are conditions that have a great impact on the measurement uncertainty (most often it refers to the type ofmeasuring instrument , its accuracy, accuracy class, etc.), it is recommended to list them in the form of a note in column 2, if they refer to the characteristics of the measuring instrument (given in Example 5) or in column 6, if these influences do not come from the measuring instrument r (eg, from the standards used or from other sources, as in Example 9).

When witnessing the method, during the accreditation, the laboratory should show all relevant accompanying and auxiliary elements (materials, equipment, etc.) with which the measurement uncertainty is expressed, as well as the calculation / evaluation methodology, estimates, additional factors and analyzes, which affect the calculation.

The measurement uncertainty, which is listed in column 4, must not be a value that the laboratory can achieve in special conditions and circumstances, such as: longer measurement period, certain personnel, specific ambient conditions and the like. All these conditions and circumstances do not occur in normal practice and are not specified in the laboratory documentation as such.

If the condition for normal distribution is not met, a coverage factor k is used, which corresponds to a probability interval of approximately 95%. In case of using the coverage factor, which corresponds to another coverage interval, it is stated in addition to the declared measurement uncertainty.

Rules for writing measurement uncertainty:

1. Uncertainty is given in absolute value for the measuring point and it is rounded to two significant digits. Column 4 indicates only the value and the SI unit of measure without indicating "±".

2. It is not allowed to present the measurement uncertainty as an open interval, ie U> 12% relative.

3. If for certain measuring instruments it is usual to use the expression of measurement uncertainty in relative value, it is necessary to indicate that it is relative, only if it is expressed in percentage. Other estimates are not allowed such as ppm, pph and the like.

Example 6: 0,1% relative or only 0,001

12 ppm – may not be used, but must be written as 12 • 10-6

4. In certain cases, when the measurement uncertainty is expressed depending on a parameter, such as: measured value, measuring range or a constant, it is necessary for this parameter, in column 6, to be stated and defined.

Example 7: If the measurement uncertainty is 34 μm + 14 • 10-6 • L then in column 6 write "L is the measured length". The table is shown in Example 7.

Example 8: The measurement uncertainty for calibration of analog manometers if it is expressed as 0,65 μbar + 4,4 • 10-5 • pe in column 6 states "pe - deviation of the sample before the calibration cycle". The table is shown in Example 9.

5. If the measurement uncertainty refers to the calibration of meters with precisely defined technical characteristics, it is necessary to declare them.

6. The numerical values ​​of the extended uncertainty - CMC (according to ILAC P14, 6.3), should be expressed with at most two significant digits.

Note: Asymmetric uncertainty may require a non - y ± U - shaped representation. This also refers to uncertainties determined by Monte Carlo simulations (distribution propagations) or logarithmic units

Example 8: Calibration of water meters for hot and cold water

| Механички големини / Волумен и проток на флуиди Mechanical quantities / Volume and flow of fluids |
| --- |
| Локација каде се изведува калибрацијата: |
| Реден број No. | Предмет на калибрација Subject of calibration | Мерен опсег Measuring range | Калибрациска мерна можност Calibration measurement capability (cmc)* | Метода на калибрација Method of calibration | Забелешка Remark |
| 1 | Калибрација на водомери за топла и ладна вода Calibration of water meters for hot and cold water | 0,2 m3/h ÷ 40 m3/h | При Qn e 0,2% relative При Qmin e 0,39 % relative | STN 12345 (IP-20) | Масен метод со фиксен проток и користен медиум е ладна вода Qn– номинален проток Qmin – максимален проток Mass method with fixed flow and cold water as medium used Qn – nominal flow Qmin – maximum flow |

* In order to avoid ambiguities in the expression of the values ​​of the calibration measurement capability CMC, the requirements of ILAC-P14:09/2020 (item 4 and item 5) and the guideline for expressing measurement uncertainty: JCGM 100:2008, GUM 1995 must be applied.

* Useful examples for calculating and expressing CMC values ​​are given in the UKAS M3003 manual, 04/2019.

Column 5 "Calibration method": This column lists the reference documents with which the laboratory performs the calibration or its internal procedures. Reference document means: standards, relevant publications from the metrological organizations EURAMET and OIML as well as from National Metrological Institutes, which are members of these metrological organizations, published papers in the field, instructions from manufacturers that are validated and have their own version and year of issue, as well as internal laboratory procedures, with appropriate references.

Column 6 "Note": This column lists important specifications which, by their nature, are not covered by the previous columns, but are restrictive:

1. List all factors that are characteristic in terms of measurement uncertainty, as well as all additional clarifications, in terms of the calibration method used by the laboratory.

Example 9:

| Механички големини / Маса Mechanical quantities / Mass |
| --- |
| Локација каде се изведува калибрацијата: |
| Реден број No. | Предмет на калибрација Subject of calibration | Мерен опсег Measuring range | Калибрациска мерна можност Calibration measurement capability (cmc)* | Метода на калибрација Method of calibration | Забелешка Remark |
| 1 | Неавтоматски ваги Non-automatic weighing instruments | 1 g ÷ 10 g | 18 g ÷ 35 g | EURAMET/cg.18/V.4“Guidelines on the Calibration of Non-Automatic Weighing Instruments” | Uncertainties quoted depend on the performance of the weighing instruments under calibration, and can not be less than the uncertainty of the weights used for the calibration. |
| 2 |  | 10 g ÷ 100 g | 35 g ÷ 92 g |  |  |
| 3 |  | 0,1 kg ÷ 1 kg | 92 g ÷920 μg |  |  |
| 4 |  | 1 kg ÷ 10 kg | 0,92 mg ÷ 9,2 mg |  |  |
| Механички големини / Притисок и вакуум Mechanical quantities / Pressure and vacuum |
| 5 | Позитивен и негативен притисок pe Positive and negative pressure pe | -1 bar ÷ -0,03 bar | 5,0 µbar +5,0 x 10-5pe | DIN EN 837:1997 DKD-R 6-1:2014 EURAMET cg-3, Version 1.0 EURAMET cg-17, Version 2.0 | Медиумот за задавање на притисок е гас pe– отстапување на примерокот пред циклусот на калибрација (во мерна единица како во мерниот опсег) Pressure medium is gas pe - deviation of the sample before the calibration cycle (in measurement unit as in the measuring range) |
| 6 |  | -0,03 bar ÷ 0,15 bar | 0,25 µbar +3,3 x 10-5pe |  |  |
| 7 |  | 0,15 bar ÷ 1,8 bar | 3,4 µbar +1,9 x 10-5pe |  |  |
| 8 |  | 1,8 bar ÷ 7 bar | 14 µbar +1,9 x 10-5pe |  |  |
| 9 |  | 7 bar ÷70 bar | 0,4mbar +2,6 x 10-5pe |  |  |

2. Certain measuring instruments that have a specific nature and are protected as a brand by the manufacturer with a password such asdevices measuring the breaking force of vehicles, emission testers for diesel powered motor vehicles, meters for exhaust emission quality of gasoline powered motor vehicles - gas analyzers, etc.

3. Measuring instruments with specific and non-standard dimensions of reference templates to be calibrated such as: system - chamber for measuring emission testers for diesel powered motor vehicles.

Example 10:

| Оптички големини / Optical quantities Особини на оптички системи / Optical system properties |
| --- |
| Локација каде се изведува калибрацијата: Location where calibration is performed: |
| Реден број No. | Предмет на калибрација Subject of calibration | Мерен опсег Measuring range | Калибрациска мерна можност Calibration measurement capability (cmc)* | Метода на калибрација Method of calibration | Забелешка Remark |
| 1 | Уреди за мерење на затемнетоста на издувните гасови од возилата опремни со дизел мотори – Опациметри / Emission testers for diesel powered motor vehicles | 0 % ÷ 100 % | 0,26 % |  | Референтни еталони за: / Reference standard for: CARTEC – LCS 2100 CARTEC – LCS 2400 MAHA - MDO 2 CAPELEC/SUN – DSS 3 ….. |
| 2 |  | 0 m-1 ÷ 99,99 m-1 | 0,0059 m-1 |  |  |

3. The scope of application of calibration activities, e.g. in cases where there are technical limitations or when it comes to a regulated sector where reference is made to relevant laws or directives, etc.

6. GUIDELINES FOR CERTIFICATION BODIES FOR PRODUCTS, PROCESSES AND SERVICES

The scope of activities of the certification bodies for products, processes and services that require accreditation is stated in the Application for Accreditation of Certification Bodies for Products, Processes and Services OB 05-04-1. By filling in the relevant tables, the applicant shall indicate the scope for which they are seeking accreditation and which will be, after granting accreditation, re-accreditation, extension of accreditation or after the changes made, specified in the Annex to the Accreditation Certificate OB 05-36-1.

Sample table showing the scope of the certification body for products, processes and services:

| Бр. No. (1) | Производи/процеси/услуги Products/Processes/Services (2) | Сертификациона шема Certification Scheme (3) | Стандард(и) и/или други нормативни документи Standard(s) and/or other normativ documents (4) |
| --- | --- | --- | --- |

Column (1)

In the first column of the table are the ordinal numbers of the products / processes / services for which certification has been granted.

Column (2)

The second column of the table lists the products / processes / services for which certification has been granted.

Column (3)

The third column of the table lists the applied certification scheme*.

Under the scheme name, the conformity assessment methods as set out in Table 1 of MKS EN ISO / IEC 17067: 2013 must be listed. The applicable activities of Part II and, if applicable, Part VI of Table 1 ISO / IEC 17067 (for example, type testing or annual support system audits) must be mentioned.

Part II and VI of MKS EN ISO / IEC 17067:2013

II Determining the characteristics, if applicable, through:

a) (type) testing

b) inspection

c) design evaluation

d) evaluation of services or processes

e) other determining activities, e.g. verification

VI Supervision, if applicable, through:

a) testing or inspection of market samples

b) testing or verification of factory samples

c) evaluation of production, service delivery or process operation

d) management system audits in combination with random tests or inspections

* Certification scheme is a certification system related to specific products to which the same specific requirements, rules and procedures apply.

A scheme owner is a person or organization responsible for developing and maintaining a specific certification scheme.

Note: The scheme can be owned by the certification body itself, a group of certification bodies, a government body, manufacturers and their associations, trade associations that buy or sell products subject to certification, NGOs and consumer organizations, standardization bodies.

Accreditation bodies cannot be owners of a scheme.

Column (4)

The fourth column lists the standard(s) and/or other normative documents, including their date of publication, on the basis of which it is assessed whether the product(s), process(s) or service(s) is harmonized with them.

Examples of certification of construction products in a non-harmonized field:

| Бр. No. (1) | Производи/процеси/услуги Products/Processes/Services (2) | Сертификациона шема Certification Scheme (3) | Стандард(и) Standard(s) (4) |
| --- | --- | --- | --- |
| 1. | Бетон/ Concrete | Интерна сертификациска шема за бетон, Ревизија 0X, 20XX -Почетна контрола на системот на фабричка контрола (FPC), -Континуиран надзор, оцена и евалуација на системот на фабричка контрола (FPC) - Тестирање на случајни примероци земени од производството - Initial inspection of factory production control (FPC) system - Countinious surveillance, assessment and evaluation of factory production control (FPC) system - Testing of samples from the factory | МКС EN 206:2014+A1:2017 Бетон - Спецификации, својства, производство и сообразност Concrete - Specification, performance, production and conformity |

Examples of certification of construction products in a harmonized field:

| Бр. No. (1) | Производи/процеси/услуги Products/Processes/Services (2) | Систем на ОППС AVCP system (3) | Стандард(и) Standard(s) (4) |
| --- | --- | --- | --- |
| 1. | Цемент/ Cement | 1+ | МКС EN 197-1:2012, Цемент - Дел 1: Состав, спецификации и критериуми за сообразност за обичен цемент Cement - Part 1: Composition, specifications and conformity criteria for common cements |
| 2. | Агрегати/Aggregates | 2+ | МКС EN 12620+A1:2009, Агрегати за бетон Aggregates for concrete МКС EN 13043:2006, МКС EN 13043:2006/AC:2006, Агрегат за битуменски мешавини и површински обработки за патишта, аеродроми и други сообраќајни површини, Aggregates for bituminous mixtures and surface treatments for roads, airfields and other trafficked areas МКС EN 13055-1:2006, МКС EN 13055-1:2006/АС:2006, Лесни агрегати - Дел 1: Лесни агрегати за бетон, малтер и цементен малтер Lightweight aggregates - Part 1: Lightweight aggregates for concrete, mortar and grout МКС EN 13139:2006, МКС EN 13139:2006/AC:2006, Малтерни маси Aggregates for mortar МКС EN 13242+A1:2009, Агрегати за неврзани и за хидраулички врзани материјали, кои се користат во градежништвото и во изградбата на патишта Aggregates for unbound and hydraulically bound materials for use in civil engineering work and road construction МКС EN 13383-1:2006, МКС EN 13383-1:2006/AC:2006, Делкан камен - Дел 1: Спецификација Armourstone - Part 1: Specification МКС EN 13450:2006, МКС EN 13450:2006/AC:2006, Агрегати за железнички товар Aggregates for railway ballast |

ОППС - систем или системи за оцена и потврда на постојаност на својствата на секој вид или категорија на градежни производи/ (AVCP) the system or systems of assessment and verification of constancy of performance of the construction product (AVCP)

Examples of certification of production processes of organic agricultural products, in accordance with the Law on Organic Agricultural Production

| Бр. No. (1) | Производи/процеси/услуги Products/Processes/Services (2) | Шема на сертификација / Правила, процедури поврзани со одредена група на определени барања (стандарди или други нормативни документи) Scheme of certification/ Rules, procedures related to particular set of specified requirements (standards or other normative documents) (3) + (4) |
| --- | --- | --- |
| 1. | Растенија и растителни производи, вклучувајќи и самоникнати видови Сточарско органско производство, вклучувајќи пчеларство и пчеларски производи Производство и преработка, на прехранбени производи што се состојат од растителни и сточни производи, вклучувајќи и трговија на органски земјоделски производи Plant and plant products, including wild collection Livestock and livestock products, including beekeeping and beekeeping products Production and processing of plant and livestock products and foodstuffs composed of plant and livestock products, including trade of organic agricultural products | Закон за органско земјоделско производство на РМ („Сл.Весник на РМ бр.146/2009“ и „Сл.Весник на РМ бр.53/2011“) Правилник за начин и постапка за вршење стручна контрола во органско земјоделско производство („Сл.Весник на РМ бр.163/2010“), Правилник за формата и содржината на формата на потврдата, начинот на нејзиното издавање, како и постапката за собирање, пакување, превоз и складирање на органски производи („Сл.Весник на РМ бр.163/2010“), Правилник за правила и постапки во растително органско производство („Сл.Весник на РМ бр.163/2010“), Правилник за правила и постапки во пчеларството („Сл.Весник на РМ бр.163/2010“), Правилник за постапките на одгледување, минимум површини за сместување на различни видови животни и максимален број на животни по хектар ( „Сл.Весник на РМ бр.162/2010) Law on Organic Agricultural Production (Official Gazette no 146/2009) and the Law amending the Law on Organic Agricultural Production (Official Gazette No.53/2011), Regulation on the Manner and procedure for performing of Professional control of the organic Agricultural Production (Official Gazette No.163/2010), Regulation on the form and content of the certificate the manner of its issuance and the procedure for collecting packaging, transport and storage of organic products (Official Gazette No.163/2010), Regulation on rules and procedures in organic crop production (Official Gazette No.163/2010), Regulation on rules and Procedures in beekeeping (Official Gazette No.163/2010), Regulation on the procedures for cultivation the minimum area to accommodate a variety of species and maximum number of animals per hectare (Official Gazette No.162/2010) |

7. GUIDELINES FOR CERTIFICATION BODIES FOR MANAGEMENT SYSTEMS

The scope of activities of the certification bodies for management systems that require accreditation is stated in the Application for Accreditation of Certification Bodies for management systems OB 05-03-1. By filling the application the applicants shall indicate the management system standard and the activities for which they are seeking accreditation and which will be, after granting accreditation, re-accreditation, extension of accreditation or after the changes made, specified in the Annex to the Accreditation Certificate OB 05-23.

Example:

Quality management system certification, according to МКС EN ISO 9001:2015, by applying

МКС EN ISO/IEC 17021-3:2019

| IAF* | Подрачје | NACE rev.2** |
| --- | --- | --- |
| 8 | Издавачка дејност/Publishing companies | 58.1 |
| 9 | Печатарска дејност/Printing companies | 18 |
| 28 | Градежништво/ Construction | 41, 42 |
| 29 | Трговија на големо и трговија на мало; Поправка на моторни возила, мотоцикли и предмети за лична употреба и за домаќинствата/ Wholesale and retail trade; Repair of motor vehicles, motorcycles and personal and household goods | 45, 46, 47 |

*IAF code as per IAF ID 1:2020

**NACE code, as per Regulation 1893/2006/EC of the European Parliament and of the Council

8. GUIDELINES FOR INSPECTION BODIES

The scope of activities of inspection bodies seeking accreditation is stated in the Application for Accreditation of Inspection Bodies OB 05-06-1. By filling in the relevant tables, the applicant shall indicate the scope for which they are seeking accreditation and which will be, after granting accreditation, re-accreditation, extension of accreditation or after the changes made, specified in the Annex to the Accreditation Certificate OB 05-31-1.

Sample table showing the scope of an inspection body:

| Бр. | Подрачје на инспекција производ, процес, инсталација Field of inspection product, process, installation | Тип на инспекцијата (прва, периодична вонредна и.т.н) Inspection type (first, periodical, extraordinary etc.) | Инспекциски методи Inspection methods | Легислатива на која се реферираат методите Legislation which refers to the methods |
| --- | --- | --- | --- | --- |

Column (1)

In the first column of the table are the ordinal numbers of the product / process that is part of the accredited activity.

Column (2)

The second column of the table lists the field of ​​product inspection, process, installation.

Column (3)

The third column of the table indicates the type of inspection (first, periodic, extraordinary, before commissioning, at the request of the customer, conformity assessment of a new product which lists the modules according to which the conformity assessment is performed, etc.)

Column (4)

The fourth column lists the inspection methods and procedures according to which the inspection bodies perform inspections. If the inspection method is performed in full compliance with the standard, then the standard (with the year of issue of the standard) can be stated as a replacement for the internal inspection method.

Column (5)

The fifth column states the legislation (if applicable) according to which the inspection is performed, as well as bylaws and other regulations. Also clearly and unequivocally, if necessary, the exclusion or specification of the application of certain articles or parts of articles of the legislation should be stated.

Examples of inspection in a regulated field:

| Бр. | Подрачје на инспекција производ, процес, инсталација Field of inspection product, process, installation | Тип на инспекцијата (прва, периодична вонредна и.т.н) Inspection type (first, periodical, extraordinary etc.) | Инспекциски методи Inspection methods | Легислатива на која се реферираат методите Legislation which refers to the methods |
| --- | --- | --- | --- | --- |
| 1. | Лифтови | Оцена на сообразност - Поединечна верификација на лифтови (модул “G”) - Испитување на тип на лифтови (модул “B”) - Завршна инспекција на лифтови | Процедура за оцена на сообразност на лифтови Работно упатство за испитување и проверка на лифтови при оцена на сообразност | Правилник за пуштање на пазар на лифтови и сигурносни уреди за лифтови (Сл. весник на Р.М. бр. 23/2007 |
|  | Lifts | Conformity assessment - Unit verification of lifts (Module G) - Type examination of lifts (Module B) - Final inspection of lifts | Procedure for conformity assessment of lifts; Instructions for testing and examination of lifts during conformity assessment | Rulebook for placement on the market of lifts and lift safety components (Official Gazette of R.M. No. 23/2007) |
| 2. | - мостовски дигалки (кранови) - портални и полупортални дигалки (кранови) - подвижни и неподвижни конзолни дигалки (кранови) - подвижни и неподвижни дигалки (кранови) со столб или кула - мобилни дигалки (кранови) - дигалки монтирани на возила | - Технички преглед и испитувањa пред ставање во употреба (прв технички преглед) - Периодичен и вонреден технички преглед и испитувањa | Процедура за технички преглед на дигалки и индустриски транспортери Работно упатство за испитување и проверка на дигалки и индустриски транспортер | Правилник за користење на дигалки и индустриски транспортери (Сл. весник на Р.М. 32/2009) |
|  | - bridge cranes - gantry and semi-gantry cranes - movable and stationary jib and cantilever cranes - movable and stationary mast and tower cranes - mobile cranes - hoists mounted on vehicles (loader cranes), | - Technical examination and tests of lifts before putting into service (first – initial technical examination) - Periodical and extraordinary technical examination and tests | Procedure for technical examination of cranes and industrial conveyors Instructions for testing of cranes and industrial conveyors during technical examination; | Rulebook on use of hoists and industrial conveyors (Off. Gazette of R.M. 32/2009); |